# SOP — Forklift battery charging

Rev B. Owner: Luis Ferreira

Park truck at charging station

Set brake, lower forks

Wear face shield and gloves

Check water level

Connect charger

Log charge start time